Filtering half-mask FS-16 FFP1 NR D

Category: SIMPLA

Class: P1

PEL: 4 x PEL

Reference standard: EN 149:2001+A1:2009

Certificate: CIOP PIB per EU 2016/425

The nose-clip-free SIMPLA filtering half-masks are the latest arrivals from Filter Service. Their benefits and advantages include high separation efficiency, unparalleled wearing comfort, low weight, and very reasonable prices.

Use:

Non-toxic dust particulates; for use in agriculture, food processing, quarry processing and cement plants; dedicated to dust particulates of calcium carbonate, natural and synthetic graphite, gypsum, chalk, cement, plaster dust, marble, zinc oxide, plant pollens, cellulose, sulphur dust, cotton, metal filing dust, and carbon/coal dust with < 10% of free silica.

Additional advantages:

The innovative design of the SIMPLA series half-masks requires no traditional nose clip. You no longer have to tediously and carefully adjust the nose clip for a full seal. The design also minimises misting of protective eyewear. The SIMPLA half-masks feature no metal parts.

Application:

Protection of human airways against harmful airborne solid particulates and/or liquids in aerosols (dust, smoke and mist) at a maximum exposure level of 4 times PEL (Permissible Exposure Limit).

Components:

Half-mask dome:
- Polyester construction non-woven fabric (on the outside and from the inside)

- Polypropylene filtering melt-blown non-woven fabric
Features:
- Head strap